# MANUFACTURERS LITERATURE

|  |  |  |  |
| --- | --- | --- | --- |
| **INDEX** | **SUPPLIER** | **EQUIPMENT** | **LITERATURE PROVIDED** |
| **A** | Veismann | Boiler | Vitodens 222F Operating Instructions |
| **B** | Stelrad | Radiators | Compact Technical Data LST i Plus Technical Data |
| **C** | Nuaire | Extract Fans | Opus 40 Fan Data Sheet with Installation & Maintenance Instructions |
| **D** | Honeywell | Controller | ST9100 User Guide |
| **E** | Kamstrup | Water Meter | Multical 62 Installation & User Guide |
| **F** |  |  |  |
| **G** |  |  |  |
| **HI** |  |  |  |
| **JK** |  |  |  |
| **L** |  |  |  |
| **M** |  |  |  |
| **N** |  |  |  |
| **O** |  |  |  |
| **PQ** |  |  |  |
| **S** |  |  |  |
| **T** |  |  |  |
| **UV** |  |  |  |
| **W** |  |  |  |
| **XYZ** |  |  |  |